## Document Control
Document Control
Identification
Client |  | Sussex Air Partnership
Document Title |  | Sussex Air Network Monthly Review
Bureau Veritas Reference |  | AIR13115731
Contact Details
Company Name | Bureau Veritas UK Limited
Contact Name | Nigel Jenkins
Position | Air Quality Lead - Commercial
Address | Bureau Veritas UK Ltd 5th Floor 66 Prescot Street London E1 8HG
Telephone | 0161 446 4600
E-mail | nigel.jenkins@bureauveritas.com
Website | www.bureauveritas.co.uk
Configuration
Version | Date | Author | Reason for Issue/Summary of Changes |  | Status
1 | 2024-06-07 | J Cai | Initial Draft |  | Live
| Name | Job Title |  | Signature
Prepared By | J. Cai | Air Quality Consultant
Approved By | N Jenkins | Air Quality Commercial Lead

## Monthly Review NO2
Local authority | All | Selectable
Monitoring site | All | Selectable
Pollutant | NO2
Monthly Pollutant Average Concentration (µg/m3)
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
| AD1 | Adur DC - Shoreham-by-sea | Adur | Jan: 22.9655; Feb: 21.2249; Mar: 21.835; Apr: 16.5595; May: 17.8805 | 20.0931
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 13.5104; Feb: 9.4664; Mar: 11.935; Apr: 7.8179; May: 10.5525 | 10.6564
| BH10 | BHCC - North Street | Brighton_and_Hove | Jan: 31.8522; Feb: 28.7032; Mar: 28.0967; Apr: 22.4317; May: 27.6392 | 27.7446
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 26.3606 | 26.3606
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 21.7106; Feb: 16.4632; Mar: 14.5777; Apr: 14.1964; May: 20.7521 | 17.54
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 25.6653; Feb: 18.9873; Mar: 19.93; Apr: 16.626; May: 19.1617 | 20.0741
| CI5 | Chichester DC -Westhampnett Road | Chichester | Jan: 23.8324; Feb: 18.1256; Mar: 22.6578; Apr: 17.4538; May: 19.0114 | 20.2162
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 12.5906; Feb: 7.4809; Mar: 9.0268; Apr: 7.4845; May: 10.2485 | 9.3663
| EB3 | AURN - Holly Place | Eastbourne | Jan: 10.7192; Feb: 7.972; Mar: 8.0582; Apr: 5.8675; May: 10.5146 | 8.6263
| HO2 | Horsham DC - Park Way | Horsham | Jan: 21.9618; Feb: 15.0371; Mar: 16.2122; Apr: 13.9396; May: 14.8799 | 16.4061
| HO4 | AURN - Storrington | Horsham | Jan: 22.4726; Feb: 13.8764; Mar: 16.1799; Apr: 14.3403; May: 18.0998 | 16.9938
| HO5 | Horsham DC - Cowfold | Horsham | Jan: 20.4282; Feb: 14.2617; Mar: 20.1348; Apr: 13.9803; May: 16.734 | 17.1078
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 10.0861; Feb: 9.7818; Mar: 12.5433; Apr: 9.3256; May: 12.422 | 10.8318
| LL1 | AURN - Lullington Heath | Wealden | Jan: 6.7215; Feb: 4.8508; Mar: 7.5785; Apr: 5.6429; May: 6.1819 | 6.1951
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 17.3768; Feb: 15.1896; Mar: 16.3091; Apr: 11.7408; May: 13.0322 | 14.7297
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 20.5501; Feb: 11.3303; Mar: 11.1495; Apr: 9.0787; May: 13.0032 | 13.0224
| WT2 | Worthing BC - A27 Grove Lodge | Worthing | Jan: 27.6007; Feb: 27.2165; Mar: 27.0188; Apr: 18.5347; May: 17.0242 | 23.479
| MS1 | Mid Sussex DC - London Road (East Grinstead) | Mid_Sussex | Jan: 21.2364; Feb: 15.5151; Mar: 20.9525; Apr: 15.6815; May: 20.2745 | 18.732
| All | - | - | Jan: 19.4871; Feb: 15.0284; Mar: 16.7174; Apr: 12.9825; May: 16.3207 | 16.4378
Note: Exceedances of the NO2 annual mean objective of 40µg/m3 are shown in bold italic. NO2 annual means exceeding 60µg/m3, indicating a potential exceedance of the NO2 1-hour mean objective are shown in bold and underlined.
Monthly Data Capture
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Avg
| AD1 | Adur DC - Shoreham-by-sea | Adur | Jan: 99.6%; Feb: 99.57%; Mar: 99.87%; Apr: 99.86%; May: 99.19% | 99.62%
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 99.19%; Feb: 95.4%; Mar: 95.42%; Apr: 100%; May: 100% | 98%
| BH10 | BHCC - North Street | Brighton_and_Hove | Jan: 96.64%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 99.73% | 99.25%
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 26.61% | 26.61%
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 53.23%; Feb: 35.63%; Mar: 100%; Apr: 99.86%; May: 65.99% | 70.94%
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 98.79%; Feb: 93.82%; Mar: 99.87%; Apr: 100%; May: 100% | 98.5%
| CI5 | Chichester DC -Westhampnett Road | Chichester | Jan: 99.73%; Feb: 100%; Mar: 99.33%; Apr: 99.86%; May: 99.73% | 99.73%
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 99.87%; Feb: 99.86%; Mar: 100%; Apr: 99.86%; May: 100% | 99.92%
| EB3 | AURN - Holly Place | Eastbourne | Jan: 98.52%; Feb: 95.4%; Mar: 99.33%; Apr: 99.86%; May: 99.87% | 98.6%
| HO2 | Horsham DC - Park Way | Horsham | Jan: 99.87%; Feb: 47.84%; Mar: 99.87%; Apr: 93.61%; May: 99.87% | 88.21%
| HO4 | AURN - Storrington | Horsham | Jan: 98.52%; Feb: 95.98%; Mar: 99.33%; Apr: 99.72%; May: 99.6% | 98.63%
| HO5 | Horsham DC - Cowfold | Horsham | Jan: 89.78%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 99.33% | 97.79%
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 99.73%; Feb: 99.86%; Mar: 100%; Apr: 99.86%; May: 99.87% | 99.86%
| LL1 | AURN - Lullington Heath | Wealden | Jan: 99.06%; Feb: 95.69%; Mar: 95.29%; Apr: 99.86%; May: 99.87% | 97.95%
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 100% | 99.97%
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 99.46%; Feb: 99.71%; Mar: 100%; Apr: 99.72%; May: 100% | 99.78%
| WT2 | Worthing BC - A27 Grove Lodge | Worthing | Jan: 98.79%; Feb: 99.57%; Mar: 99.87%; Apr: 99.86%; May: 99.73% | 99.56%
| MS1 | Mid Sussex DC - London Road (East Grinstead) | Mid_Sussex | Jan: 99.87%; Feb: 100%; Mar: 99.87%; Apr: 99.72%; May: 99.73% | 99.84%
| All | - | - | Jan: 95.92%; Feb: 91.67%; Mar: 99.3%; Apr: 99.49%; May: 93.84% | 96.04%
Note: Data capture lower than 75% are shown in red. If an annual data capture is lower than 75%, annualisation will be needed.
No. of 1 hour mean >200 - AQS: 200 µg/m3 not to be exceeded more than 18 times a year
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
| AD1 | Adur DC - Shoreham-by-sea | Adur | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| BH10 | BHCC - North Street | Brighton_and_Hove | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| CI5 | Chichester DC -Westhampnett Road | Chichester | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| EB3 | AURN - Holly Place | Eastbourne | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| HO2 | Horsham DC - Park Way | Horsham | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| HO4 | AURN - Storrington | Horsham | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| HO5 | Horsham DC - Cowfold | Horsham | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| LL1 | AURN - Lullington Heath | Wealden | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| WT2 | Worthing BC - A27 Grove Lodge | Worthing | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| MS1 | Mid Sussex DC - London Road (East Grinstead) | Mid_Sussex | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| All | - | - | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
Note: Exceedances of the NO2 1-hour mean objective of 200µg/m3 more than 18 times are shown in bold and underlined.

## NO2 (hidden)
Monthly Pollutant Average Concentration
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: 22.9655; Feb: 21.2249; Mar: 21.835; Apr: 16.5595; May: 17.8805 | 20.0931
BH0 | Jan: 13.5104; Feb: 9.4664; Mar: 11.935; Apr: 7.8179; May: 10.5525 | 10.6564
BH10 | Jan: 31.8522; Feb: 28.7032; Mar: 28.0967; Apr: 22.4317; May: 27.6392 | 27.7446
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 26.3606 | 26.3606
CA2 | Jan: 21.7106; Feb: 16.4632; Mar: 14.5777; Apr: 14.1964; May: 20.7521 | 17.54
CI1 | Jan: 25.6653; Feb: 18.9873; Mar: 19.93; Apr: 16.626; May: 19.1617 | 20.0741
CI5 | Jan: 23.8324; Feb: 18.1256; Mar: 22.6578; Apr: 17.4538; May: 19.0114 | 20.2162
EB1 | Jan: 12.5906; Feb: 7.4809; Mar: 9.0268; Apr: 7.4845; May: 10.2485 | 9.3663
EB3 | Jan: 10.7192; Feb: 7.972; Mar: 8.0582; Apr: 5.8675; May: 10.5146 | 8.6263
HO2 | Jan: 21.9618; Feb: 15.0371; Mar: 16.2122; Apr: 13.9396; May: 14.8799 | 16.4061
HO4 | Jan: 22.4726; Feb: 13.8764; Mar: 16.1799; Apr: 14.3403; May: 18.0998 | 16.9938
HO5 | Jan: 20.4282; Feb: 14.2617; Mar: 20.1348; Apr: 13.9803; May: 16.734 | 17.1078
HT1 | Jan: 10.0861; Feb: 9.7818; Mar: 12.5433; Apr: 9.3256; May: 12.422 | 10.8318
LL1 | Jan: 6.7215; Feb: 4.8508; Mar: 7.5785; Apr: 5.6429; May: 6.1819 | 6.1951
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: 17.3768; Feb: 15.1896; Mar: 16.3091; Apr: 11.7408; May: 13.0322 | 14.7297
MS1 | Jan: 21.2364; Feb: 15.5151; Mar: 20.9525; Apr: 15.6815; May: 20.2745 | 18.732
RY2 | Jan: 20.5501; Feb: 11.3303; Mar: 11.1495; Apr: 9.0787; May: 13.0032 | 13.0224
WT2 | Jan: 27.6007; Feb: 27.2165; Mar: 27.0188; Apr: 18.5347; May: 17.0242 | 23.479
Monthly Data Capture
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: 99.6%; Feb: 99.57%; Mar: 99.87%; Apr: 99.86%; May: 99.19% | 99.62%
BH0 | Jan: 99.19%; Feb: 95.4%; Mar: 95.42%; Apr: 100%; May: 100% | 98%
BH10 | Jan: 96.64%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 99.73% | 99.25%
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 26.61% | 26.61%
CA2 | Jan: 53.23%; Feb: 35.63%; Mar: 100%; Apr: 99.86%; May: 65.99% | 70.94%
CI1 | Jan: 98.79%; Feb: 93.82%; Mar: 99.87%; Apr: 100%; May: 100% | 98.5%
CI5 | Jan: 99.73%; Feb: 100%; Mar: 99.33%; Apr: 99.86%; May: 99.73% | 99.73%
EB1 | Jan: 99.87%; Feb: 99.86%; Mar: 100%; Apr: 99.86%; May: 100% | 99.92%
EB3 | Jan: 98.52%; Feb: 95.4%; Mar: 99.33%; Apr: 99.86%; May: 99.87% | 98.6%
HO2 | Jan: 99.87%; Feb: 47.84%; Mar: 99.87%; Apr: 93.61%; May: 99.87% | 88.21%
HO4 | Jan: 98.52%; Feb: 95.98%; Mar: 99.33%; Apr: 99.72%; May: 99.6% | 98.63%
HO5 | Jan: 89.78%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 99.33% | 97.79%
HT1 | Jan: 99.73%; Feb: 99.86%; Mar: 100%; Apr: 99.86%; May: 99.87% | 99.86%
LL1 | Jan: 99.06%; Feb: 95.69%; Mar: 95.29%; Apr: 99.86%; May: 99.87% | 97.95%
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 100% | 99.97%
MS1 | Jan: 99.87%; Feb: 100%; Mar: 99.87%; Apr: 99.72%; May: 99.73% | 99.84%
RY2 | Jan: 99.46%; Feb: 99.71%; Mar: 100%; Apr: 99.72%; May: 100% | 99.78%
WT2 | Jan: 98.79%; Feb: 99.57%; Mar: 99.87%; Apr: 99.86%; May: 99.73% | 99.56%
No. of 1 hour mean >200 - AQS: 200 µg/m3 not to be exceeded more than 18 times a year
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
AD1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
BH0 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
BH10 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
CA2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
CI1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
CI5 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
EB1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
EB3 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HO2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HO4 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HO5 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HT1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
LL1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
LS8 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
MS1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
RY2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
WT2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0

## Monthly Review PM10
Local authority | All | Selectable
Monitoring site | All | Selectable
Pollutant | PM10
Monthly Pollutant Average Concentration (µg/m3)
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 11.3513 | 11.3513
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 18.3614; Feb: 17.361; Mar: 20.1857; Apr: 16.1637; May: 17.8744 | 17.9892
| EB3 | AURN - Holly Place | Eastbourne | Jan: 13.5494; Feb: 11.1641; Mar: 11.9069; Apr: 9.0522; May: 12.191 | 11.5727
| LL1 | AURN - Lullington Heath | Wealden | Jan: 12.6255; Feb: 10.9851; Mar: 11.239; Apr: 9.002; May: 10.9986 | 10.97
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 21.2251; Feb: 20.5342; Mar: 23.5666; Apr: 18.4611; May: 17.1094 | 20.1793
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 19.6133; Feb: 16.3613; Mar: 16.7867; Apr: 14.3302; May: 16.4879 | 16.7159
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 21.0983; Feb: 15.3489; Mar: 17.78; Apr: 13.1007; May: 16.0318 | 16.672
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 13.178; Feb: 8.2327; Mar: 13.732; Apr: 10.3977; May: 14.7067 | 12.0494
| HO2 | Horsham DC - Park Way | Horsham | Jan: 24.6562; Feb: 17.3701; Mar: 16.127; Apr: 13.9183; May: 16.2939 | 17.6731
| HO4 | AURN - Storrington | Horsham | Jan: 18.173; Feb: 11.661; Mar: 14.3258; Apr: 10.0641; May: 12.809 | 13.4066
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 13.4894 | N/A
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 16.6186; Feb: 12.6067; Mar: 14.3852; Apr: 11.0283; May: 13.4894 | 13.6256
| MS1 | Mid Sussex DC - London Road (East Grinstead) | Mid_Sussex | Jan: 17.1093; Feb: 13.8293; Mar: 17.5605; Apr: 13.8594; May: 14.6749 | 15.4067
| All | - | - | Jan: 17.9099; Feb: 14.1322; Mar: 16.145; Apr: 12.6707; May: 14.4237 | 14.801
Note: Exceedances of the PM10 annual mean objective of 40µg/m3 are shown in bold and underlined.
Monthly Data Capture
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Avg
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 27.69% | 27.69%
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 99.87%; Feb: 91.67%; Mar: 99.87%; Apr: 89.31%; May: 100% | 96.14%
| EB3 | AURN - Holly Place | Eastbourne | Jan: 100%; Feb: 99.71%; Mar: 100%; Apr: 100%; May: 99.87% | 99.92%
| LL1 | AURN - Lullington Heath | Wealden | Jan: 98.92%; Feb: 99.57%; Mar: 100%; Apr: 99.86%; May: 99.87% | 99.64%
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 99.33%; Feb: 82.18%; Mar: 100%; Apr: 99.72%; May: 99.33% | 96.11%
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 96.91%; Feb: 98.56%; Mar: 99.6%; Apr: 99.86%; May: 99.73% | 98.93%
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 72.18%; Feb: 88.07%; Mar: 99.87%; Apr: 99.58%; May: 79.3% | 87.8%
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 53.23%; Feb: 36.21%; Mar: 100%; Apr: 100%; May: 69.22% | 71.73%
| HO2 | Horsham DC - Park Way | Horsham | Jan: 99.06%; Feb: 99.14%; Mar: 100%; Apr: 99.72%; May: 99.73% | 99.53%
| HO4 | AURN - Storrington | Horsham | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 96.11%; May: 100% | 99.22%
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 99.73%; Feb: 99.57%; Mar: 96.37%; Apr: 99.72%; May: 100% | 99.08%
| MS1 | Mid Sussex DC - London Road (East Grinstead) | Mid_Sussex | Jan: 99.87%; Feb: 100%; Mar: 99.87%; Apr: 100%; May: 99.87% | 99.92%
| All | - | - | Jan: 91.92%; Feb: 90.43%; Mar: 99.6%; Apr: 98.54%; May: 89.55% | 94.01%
Note: Data capture lower than 75% are shown in red. If an annual data capture is lower than 75%, annualisation will be needed.
No. of 24 hour mean >50 - AQS: 50 µg/m3 not to be exceeded more than 35 times a year
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 0 | 0
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| EB3 | AURN - Holly Place | Eastbourne | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| LL1 | AURN - Lullington Heath | Wealden | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| HO2 | Horsham DC - Park Way | Horsham | Jan: 1; Feb: 0; Mar: 0; Apr: 0; May: 0 | 1
| HO4 | AURN - Storrington | Horsham | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| LS7 | Lewes DC - Newhaven | Lewes | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| MS1 | Mid Sussex DC - London Road (East Grinstead) | Mid_Sussex | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
| All | - | - | Jan: 1; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0.076923
Note: Exceedances of the PM10 24-hour mean objective of 50µg/m3 more than 35 times are shown in bold and underlined.

## PM10 (hidden)
Monthly Pollutant Average Concentration
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH0 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH10 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 11.3513 | 11.3513
CA2 | Jan: 13.178; Feb: 8.2327; Mar: 13.732; Apr: 10.3977; May: 14.7067 | 12.0494
CI1 | Jan: 21.0983; Feb: 15.3489; Mar: 17.78; Apr: 13.1007; May: 16.0318 | 16.672
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB1 | Jan: 18.3614; Feb: 17.361; Mar: 20.1857; Apr: 16.1637; May: 17.8744 | 17.9892
EB3 | Jan: 13.5494; Feb: 11.1641; Mar: 11.9069; Apr: 9.0522; May: 12.191 | 11.5727
HO2 | Jan: 24.6562; Feb: 17.3701; Mar: 16.127; Apr: 13.9183; May: 16.2939 | 17.6731
HO4 | Jan: 18.173; Feb: 11.661; Mar: 14.3258; Apr: 10.0641; May: 12.809 | 13.4066
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 17.1094 | 17.1094
HT1 | Jan: 21.2251; Feb: 20.5342; Mar: 23.5666; Apr: 18.4611; May: 17.1094 | 20.1793
LL1 | Jan: 12.6255; Feb: 10.9851; Mar: 11.239; Apr: 9.002; May: 10.9986 | 10.97
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 13.4894 | N/A
LS8 | Jan: 16.6186; Feb: 12.6067; Mar: 14.3852; Apr: 11.0283; May: 13.4894 | 13.6256
MS1 | Jan: 17.1093; Feb: 13.8293; Mar: 17.5605; Apr: 13.8594; May: 14.6749 | 15.4067
RY2 | Jan: 19.6133; Feb: 16.3613; Mar: 16.7867; Apr: 14.3302; May: 16.4879 | 16.7159
WT2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
Monthly Data Capture
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH0 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH10 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 27.69% | 27.69%
CA2 | Jan: 53.23%; Feb: 36.21%; Mar: 100%; Apr: 100%; May: 69.22% | 71.73%
CI1 | Jan: 72.18%; Feb: 88.07%; Mar: 99.87%; Apr: 99.58%; May: 79.3% | 87.8%
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB1 | Jan: 99.87%; Feb: 91.67%; Mar: 99.87%; Apr: 89.31%; May: 100% | 96.14%
EB3 | Jan: 100%; Feb: 99.71%; Mar: 100%; Apr: 100%; May: 99.87% | 99.92%
HO2 | Jan: 99.06%; Feb: 99.14%; Mar: 100%; Apr: 99.72%; May: 99.73% | 99.53%
HO4 | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 96.11%; May: 100% | 99.22%
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HT1 | Jan: 99.33%; Feb: 82.18%; Mar: 100%; Apr: 99.72%; May: 99.33% | 96.11%
LL1 | Jan: 98.92%; Feb: 99.57%; Mar: 100%; Apr: 99.86%; May: 99.87% | 99.64%
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: 99.73%; Feb: 99.57%; Mar: 96.37%; Apr: 99.72%; May: 100% | 99.08%
MS1 | Jan: 99.87%; Feb: 100%; Mar: 99.87%; Apr: 100%; May: 99.87% | 99.92%
RY2 | Jan: 96.91%; Feb: 98.56%; Mar: 99.6%; Apr: 99.86%; May: 99.73% | 98.93%
WT2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
No. of 24 hour mean >50 - AQS: 50 µg/m3 not to be exceeded more than 35 times a year
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
AD1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
BH0 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
BH10 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 0 | 0
CA2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
CI1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
CI5 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
EB1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
EB3 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HO2 | Jan: 1; Feb: 0; Mar: 0; Apr: 0; May: 0 | 1
HO4 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HO5 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
HT1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
LL1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
LS7 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
LS8 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
MS1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
RY2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
WT2 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0

## Monthly Review PM25
Local authority | All | Selectable
Monitoring site | All | Selectable
Pollutant | PM2.5
Monthly Pollutant Average Concentration (µg/m3)
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
| AD1 | Adur DC - Shoreham-by-sea | Adur | Jan: 9.5301; Feb: 7.6254; Mar: 9.386; Apr: 6.1599; May: 9.9771 | 8.5357
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 11.5148; Feb: 8.6377; Mar: 10.1039; Apr: 7.2688; May: 9.0081 | 9.3067
| BH10 | BHCC - North Street | Brighton_and_Hove | Jan: 9.4219; Feb: 9.1213; Mar: 8.6118; Apr: 7.6046; May: 8.75 | 8.7019
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 5.5891 | 0
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 8.1145; Feb: 4.8906; Mar: 9.0511; Apr: 5.083; May: 9.5475 | 7.3373
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 12.5555; Feb: 8.9159; Mar: 12.2844; Apr: 6.0963; May: 10.1967 | 10.0097
| EB3 | AURN - Holly Place | Eastbourne | Jan: 8.7214; Feb: 6.2441; Mar: 8.0172; Apr: 5.263; May: 8.4386 | 7.3368
| HO4 | AURN - Storrington | Horsham | Jan: 10.8586; Feb: 6.3271; Mar: 9.0984; Apr: 5.4994; May: 8.0367 | 7.964
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 13.2183; Feb: 10.2547; Mar: 12.1319; Apr: 8.4307; May: 11.946 | 11.1963
| LL1 | AURN - Lullington Heath | Wealden | Jan: 8.1358; Feb: 6.1053; Mar: 7.6315; Apr: 5.304; May: 7.5009 | 6.9355
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 9.0584; Feb: 5.7733; Mar: 8.48; Apr: 5.1458; May: 8.5991 | 7.4113
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 9.0584; Feb: 7.1701; Mar: 8.7832; Apr: 5.9727; May: 10.4121 | 8.2793
| WT2 | Worthing BC - A27 Grove Lodge | Worthing | Jan: 12.1258; Feb: 10.1715; Mar: 11.7857; Apr: 8.8759; May: 10.8691 | 10.7656
| All | - | - | Jan: 10.1129; Feb: 7.3895; Mar: 9.4796; Apr: 6.1662; May: 9.1439 | 7.9831
Note: Exceedances of the PM2.5 annual mean objective of 20µg/m3 are shown in bold and underlined.
Monthly Data Capture
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Avg
| AD1 | Adur DC - Shoreham-by-sea | Adur | Jan: 98.39%; Feb: 99.71%; Mar: 99.73%; Apr: 99.86%; May: 99.6% | 99.46%
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 99.73%; Feb: 80.89%; Mar: 99.73%; Apr: 99.72%; May: 99.87% | 95.99%
| BH10 | BHCC - North Street | Brighton_and_Hove | Jan: 99.87%; Feb: 99.86%; Mar: 99.87%; Apr: 100%; May: 99.87% | 99.89%
| BH11 | Brighton - Lewes Road, A270 | Brighton_and_Hove | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 27.69% | 0%
| CA2 | Crawley BC - Gatwick Airport | Crawley | Jan: 53.23%; Feb: 36.21%; Mar: 100%; Apr: 100%; May: 69.22% | 71.73%
| CI1 | Chichester DC -A27 Chichester Bypass | Chichester | Jan: 65.73%; Feb: 77.3%; Mar: 91.53%; Apr: 99.58%; May: 96.64% | 86.16%
| EB3 | AURN - Holly Place | Eastbourne | Jan: 100%; Feb: 99.71%; Mar: 100%; Apr: 100%; May: 99.87% | 99.92%
| HO4 | AURN - Storrington | Horsham | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 96.11%; May: 100% | 99.22%
| HT1 | Hastings BC - Bexhill Rd, Bulverhythe | Hastings | Jan: 99.73%; Feb: 99.86%; Mar: 100%; Apr: 95.14%; May: 62.23% | 91.39%
| LL1 | AURN - Lullington Heath | Wealden | Jan: 98.92%; Feb: 99.57%; Mar: 100%; Apr: 99.86%; May: 99.87% | 99.64%
| LS8 | Lewes DC – Little East Street | Lewes | Jan: 99.73%; Feb: 99.57%; Mar: 96.37%; Apr: 99.72%; May: 100% | 99.08%
| RY2 | Rother DC - De La Warr Road | Rother | Jan: 96.77%; Feb: 97.41%; Mar: 99.6%; Apr: 99.86%; May: 99.87% | 98.7%
| WT2 | Worthing BC - A27 Grove Lodge | Worthing | Jan: 88.71%; Feb: 88.79%; Mar: 99.87%; Apr: 99.58%; May: 99.6% | 95.31%
| All | - | - | Jan: 91.73%; Feb: 89.91%; Mar: 98.89%; Apr: 99.12%; May: 88.79% | 84.34%
Note: Data capture lower than 75% are shown in red. If an annual data capture is lower than 75%, annualisation will be needed.

## PM25 (hidden)
Monthly Pollutant Average Concentration
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: 9.5301; Feb: 7.6254; Mar: 9.386; Apr: 6.1599; May: 9.9771 | 8.5357
BH0 | Jan: 11.5148; Feb: 8.6377; Mar: 10.1039; Apr: 7.2688; May: 9.0081 | 9.3067
BH10 | Jan: 9.4219; Feb: 9.1213; Mar: 8.6118; Apr: 7.6046; May: 8.75 | 8.7019
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 5.5891
CA2 | Jan: 8.1145; Feb: 4.8906; Mar: 9.0511; Apr: 5.083; May: 9.5475 | 7.3373
CI1 | Jan: 12.5555; Feb: 8.9159; Mar: 12.2844; Apr: 6.0963; May: 10.1967 | 10.0097
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB3 | Jan: 8.7214; Feb: 6.2441; Mar: 8.0172; Apr: 5.263; May: 8.4386 | 7.3368
HO2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO4 | Jan: 10.8586; Feb: 6.3271; Mar: 9.0984; Apr: 5.4994; May: 8.0367 | 7.964
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HT1 | Jan: 13.2183; Feb: 10.2547; Mar: 12.1319; Apr: 8.4307; May: 11.946 | 11.1963
LL1 | Jan: 8.1358; Feb: 6.1053; Mar: 7.6315; Apr: 5.304; May: 7.5009 | 6.9355
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: 9.0584; Feb: 5.7733; Mar: 8.48; Apr: 5.1458; May: 8.5991 | 7.4113
MS1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
RY2 | Jan: 9.0584; Feb: 7.1701; Mar: 8.7832; Apr: 5.9727; May: 10.4121 | 8.2793
WT2 | Jan: 12.1258; Feb: 10.1715; Mar: 11.7857; Apr: 8.8759; May: 10.8691 | 10.7656
Monthly Data Capture
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: 98.39%; Feb: 99.71%; Mar: 99.73%; Apr: 99.86%; May: 99.6% | 99.46%
BH0 | Jan: 99.73%; Feb: 80.89%; Mar: 99.73%; Apr: 99.72%; May: 99.87% | 95.99%
BH10 | Jan: 99.87%; Feb: 99.86%; Mar: 99.87%; Apr: 100%; May: 99.87% | 99.89%
BH11 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: 27.69%
CA2 | Jan: 53.23%; Feb: 36.21%; Mar: 100%; Apr: 100%; May: 69.22% | 71.73%
CI1 | Jan: 65.73%; Feb: 77.3%; Mar: 91.53%; Apr: 99.58%; May: 96.64% | 86.16%
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB3 | Jan: 100%; Feb: 99.71%; Mar: 100%; Apr: 100%; May: 99.87% | 99.92%
HO2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO4 | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 96.11%; May: 100% | 99.22%
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HT1 | Jan: 99.73%; Feb: 99.86%; Mar: 100%; Apr: 95.14%; May: 62.23% | 91.39%
LL1 | Jan: 98.92%; Feb: 99.57%; Mar: 100%; Apr: 99.86%; May: 99.87% | 99.64%
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: 99.73%; Feb: 99.57%; Mar: 96.37%; Apr: 99.72%; May: 100% | 99.08%
MS1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
RY2 | Jan: 96.77%; Feb: 97.41%; Mar: 99.6%; Apr: 99.86%; May: 99.87% | 98.7%
WT2 | Jan: 88.71%; Feb: 88.79%; Mar: 99.87%; Apr: 99.58%; May: 99.6% | 95.31%

## Monthly Review O3
Local authority | All | Selectable
Monitoring site | All | Selectable
Pollutant | O3
Monthly Pollutant Average Concentration (µg/m3)
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 47.3089; Feb: 54.7631; Mar: 51.9044; Apr: 65.2308; May: 59.0013 | 55.6417
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 56.6585; Feb: 63.2514; Mar: 64.1265; Apr: 73.3652; May: 66.0056 | 64.6814
| LL1 | AURN - Lullington Heath | Wealden | Jan: 68.3919; Feb: 73.5303; Mar: 71.6956; Apr: 80.3727; May: 70.1183 | 72.8217
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
| All | - | - | Jan: 57.4531; Feb: 63.8482; Mar: 62.5755; Apr: 72.9896; May: 65.0417 | 64.3816
Monthly Data Capture
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Avg
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 99.46%; Feb: 95.55%; Mar: 99.87%; Apr: 99.58%; May: 99.87% | 98.86%
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 100% | 99.97%
| LL1 | AURN - Lullington Heath | Wealden | Jan: 100%; Feb: 95.69%; Mar: 100%; Apr: 99.72%; May: 100% | 99.08%
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
| All | - | - | Jan: 99.82%; Feb: 97.08%; Mar: 99.96%; Apr: 99.72%; May: 99.96% | 99.31%
Note: Data capture lower than 75% are shown in red. If an annual data capture is lower than 75%, annualisation will be needed.
No. of running 8 hour mean >100 - AQS: 100 µg/m3 not to be exceeded more than 10 times a year
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
| BH0 | AURN - Preston Park | Brighton_and_Hove | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 11 | 11
| EB1 | Eastbourne BC - Devonshire Park | Eastbourne | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 1 | 1
| LL1 | AURN - Lullington Heath | Wealden | Jan: 0; Feb: 0; Mar: 15; Apr: 28; May: 36 | 79
| LS7 | Lewes DC - Newhaven | Lewes | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
| All | - | - | Jan: 0; Feb: 0; Mar: 15; Apr: 28; May: 48 | 91
BV

## O3 (hidden)
Monthly Pollutant Average Concentration
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH0 | Jan: 47.3089; Feb: 54.7631; Mar: 51.9044; Apr: 65.2308; May: 59.0013 | 55.6417
BH10 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
CA2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
CI1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB1 | Jan: 56.6585; Feb: 63.2514; Mar: 64.1265; Apr: 73.3652; May: 66.0056 | 64.6814
EB3 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO4 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HT1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LL1 | Jan: 68.3919; Feb: 73.5303; Mar: 71.6956; Apr: 80.3727; May: 70.1183 | 72.8217
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
RY2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
WT2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
Monthly Data Capture
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
AD1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
BH0 | Jan: 99.46%; Feb: 95.55%; Mar: 99.87%; Apr: 99.58%; May: 99.87% | 0.98865
BH10 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
CA2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
CI1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
EB1 | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 99.86%; May: 100% | 0.99972
EB3 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO4 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
HT1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LL1 | Jan: 100%; Feb: 95.69%; Mar: 100%; Apr: 99.72%; May: 100% | 0.99082
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
LS8 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
RY2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
WT2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | N/A
No. of running 8 hour mean >100 - AQS: 100 µg/m3 not to be exceeded more than 10 times a year
Site Name | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
AD1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
BH0 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 11 | 11
BH10 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
CA2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
CI1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
CI5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
EB1 | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 1 | 1
EB3 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
HO2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
HO4 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
HO5 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
HT1 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
LL1 | Jan: 0; Feb: 0; Mar: 15; Apr: 28; May: 36 | 79
LS7 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
LS8 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
RY2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0
WT2 | Jan: N/A; Feb: N/A; Mar: N/A; Apr: N/A; May: N/A | 0

## Monthly Review SO2
Local authority | Wealden | Only one site monitoring SO2
Monitoring site | LL1
Pollutant | SO2
Monthly Pollutant Average Concentration (µg/m3)
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Rolling Avg
| LL1 | AURN - Lullington Heath | Wealden | Jan: 1.4209; Feb: 1.4094; Mar: 2.1192; Apr: 1.5135; May: 1.3647 | 1.5655
Monthly Data Capture
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Avg
| LL1 | AURN - Lullington Heath | Wealden | Jan: 99.87%; Feb: 93.97%; Mar: 99.06%; Apr: 99.58%; May: 100% | 98.49%
Note: Data capture lower than 75% are shown in red. If an annual data capture is lower than 75%, annualisation will be needed.
No of 24 hour mean > 125 - AQS: 125 µg/m3 not to be exceeded more than 3 times a year
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
| LL1 | AURN - Lullington Heath | Wealden | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
Note: Exceedances of the SO2 24-hour mean objective of 125µg/m3 more than 3 times are shown in bold and underlined.
No of 1 hour mean > 350 - AQS: 350 µg/m3 not to be exceeded more than 24 times a year
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
| LL1 | AURN - Lullington Heath | Wealden | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
Note: Exceedances of the SO2 1-hour mean objective of 350µg/m3 more than 24 times are shown in bold and underlined.
No of 15 minute mean > 266 - AQS: 266 µg/m3 not to be exceeded more than 35 times a year
| Site ID | Site Name | Local Authority | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Sum
| LL1 | AURN - Lullington Heath | Wealden | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0 | 0
Note: Exceedances of the SO2 15-minute mean objective of 125µg/m3 more than 35 times are shown in bold and underlined.

## List of AQMS (hidden)
Active AQMS | Operational AQMS | Local Authority |  | Name | NO2 | PM10 | PM2.5 | O3 | SO2 |  | List of LAs | No. of Las |  |  | All
Shoreham-by-sea Roadside | AD1 | Adur | 6 | Shoreham-by-sea Roadside | 1 |  | 1 |  |  |  | Eastbourne | 1 |  |  | Eastbourne | Hastings | Lewes | Rother | Wealden | Adur | Arun | Column1 | Chichester | Crawley | Horsham | Mid_Sussex | Worthing | Brighton & Hove | All
Worthing Roadside (Worthing/A27 ) | WT2 | Worthing | 12 | Worthing Roadside (Worthing/A27 ) | [6 empty] | Hastings | 2 |  |  | EB1 | HT1 | LS7 | RY2 | LL1 | AD1 | None |  | CI1 | CA2 | HO2 | MS1 | WT2 | BH0 | AD1 | BH0
Chichester Roadside (A27) | CI1 | Chichester | 8 | Chichester Roadside (A27) | [6 empty] | Lewes | 3 |  |  | EB3 |  | LS8 | [5 empty] | CI5 |  | HO4 |  |  | BH10 | BH0 | EB1
Chichester (Westhampnett Road) | CI5 | Chichester | 8 | Chichester (Westhampnett Road) | [6 empty] | Rother | 4 |  |  | All |  | All | [5 empty] | All |  | HO5 |  |  | All | BH10 | LL1
Crawley Background (Gatwick Airport) | CA2 | Crawley | 9 | Crawley Background (Gatwick Airport) | [6 empty] | Wealden | 5 | [12 empty] | All |  |  |  | BH11 | LS7
Eastbourne centre (Devonshire Park) | EB1 | Eastbourne | 1 | Eastbourne centre (Devonshire Park) | [6 empty] | Adur | 6 | [16 empty] | CA2 | All
Eastbourne Background (Holly Place) | EB3 | Eastbourne | 1 | Eastbourne Background (Holly Place) | [6 empty] | Arun | 7 | [16 empty] | CI1
Hastings Roadside (Bulverhythe) | HT1 | Hastings | 2 | Hastings Roadside (Bulverhythe) | [6 empty] | Chichester | 8 | [16 empty] | CI5
Cowfold Roadside | HO5 | Horsham | 10 | Cowfold Roadside | [6 empty] | Crawley | 9 | [16 empty] | EB1
Horsham Roadside (Park Way, Hors.) | HO2 | Horsham | 10 | Horsham Roadside (Park Way, Hors.) | [6 empty] | Horsham | 10 | [16 empty] | EB3
Storrington AURN/LA | HO4 | Horsham | 10 | Storrington AURN/LA | [6 empty] | Mid_Sussex | 11 | [16 empty] | HO2
Bexhill Roadside (Bexhill) | RY2 | Rother | 4 | Bexhill Roadside (Bexhill) | [6 empty] | Worthing | 12 | [16 empty] | HO4
Lullington Heath (South Downs) | LL1 | Wealden | 5 | Lullington Heath (South Downs) | [6 empty] | Brighton_and_Hove | 13 | [16 empty] | HO5
Lewes – Little East Street | LS8 | Lewes | 3 | Lewes – Little East Street | [6 empty] | All | [17 empty] | HT1
Newhaven | LS7 | Lewes | 3 | Newhaven | [24 empty] | LL1
Preston Park | BH0 | Brighton_and_Hove | 13 | Preston Park | [24 empty] | LS7
North Street | BH10 | Brighton_and_Hove | 13 | North Street | [24 empty] | LS8
RY2
WT2
Date | [28 empty] | MS1
2022-01-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | [6 empty] | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | [14 empty] | All
2022-02-01
2022-03-01 | [14 empty] | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01
2022-04-01 | [10 empty] | List of LAs | No. of Las
2022-05-01 | [10 empty] | Brighton_and_Hove | 13 |  |  | PM2.5
2022-06-01 | [10 empty] | Eastbourne | 1 |  | Eastbourne | Lewes | Wealden | Adur | Crawley | Chichester | Horsham | Worthing | Brighton_and_Hove | Hastings | Rother | All
2022-07-01 | [10 empty] | Lewes | 5 |  | EB3 | LS8 | LL1 | AD1 | CA2 | CI1 | HO4 | WT2 | BH0 | HT1 | RY2 | AD1 |  |  |  |  | BH10 | BH0
2022-08-01 | [10 empty] | Wealden | [10 empty] | BH10 |  |  | BH0 |  |  |  |  | All | BH10
2022-09-01 | [10 empty] | All | [10 empty] | BH11 |  |  | BH10 | [5 empty] | CA2
2022-10-01 | [21 empty] | All |  |  | BH11 | [5 empty] | CI1
2022-11-01 | [24 empty] | CA2 | [5 empty] | CI5
2022-12-01 | [24 empty] | CI1 | [5 empty] | EB1
2023-01-01 | [24 empty] | EB3 | [5 empty] | EB3
[25 empty] | HO4 | [5 empty] | HO2
[25 empty] | HT1 | [5 empty] | HO4
Active AQMS | Operational AQMS | Local Authority |  |  | NO2 | PM10 | PM2.5 | O3 | SO2 | [5 empty] | PM10 | [9 empty] | LL1 | [5 empty] | HO5
Shoreham-by-sea Roadside | AD1 | Adur | 6 |  | Y |  | Y |  |  |  | Brighton_and_Hove | Lewes | Eastbourne | Wealden | Hastings | Rother | Chichester | Crawley | Horsham | Mid_Sussex | All |  |  |  | LS8 |  |  |  |  | HT1
Worthing Roadside (Worthing/A27 ) | WT2 | Worthing | 12 |  | N |  | Y |  |  |  | BH11 | LS7 | EB1 | LL1 | HT1 | RY2 | CI1 | CA2 | HO2 | MS1 | BH11 |  |  |  | RY2
Chichester Roadside (A27) | CI1 | Chichester | 8 |  | Y | Y | [5 empty] | LS8 | EB3 | [5 empty] | HO4 |  | EB1 |  |  |  | WT2 |  |  |  | LL1
Chichester (Westhampnett Road) | CI5 | Chichester | 8 |  | Y | [6 empty] | All | All | [5 empty] | All |  | EB3 |  |  |  | All |  |  |  | LS7
Crawley Background (Gatwick Airport) | CA2 | Crawley | 9 |  | N | [15 empty] | LL1 | [7 empty] | LS8
Eastbourne centre (Devonshire Park) | EB1 | Eastbourne | 1 | [17 empty] | HT1 | [7 empty] | RY2
Eastbourne Background (Holly Place) | EB3 | Eastbourne | 1 |  |  | N | [14 empty] | RY2 | [7 empty] | WT2
Hastings Roadside (Bulverhythe) | HT1 | Hastings | 2 |  | N | [15 empty] | CI1 | [7 empty] | All
Cowfold Roadside | HO5 | Horsham | 10 | [17 empty] | CA2
Horsham Roadside (Park Way, Hors.) | HO2 | Horsham | 10 | [17 empty] | HO2
Storrington AURN/LA | HO4 | Horsham | 10 | [17 empty] | HO4
Bexhill Roadside (Bexhill) | RY2 | Rother | 4 | [17 empty] | LS7
Lullington Heath (South Downs) | LL1 | Wealden | 5 | [17 empty] | LS8
Lewes – Little East Street | LS8 | Lewes | 3 |  | n | n | [14 empty] | MS1
Newhaven | LS7 | Lewes | 3 | [17 empty] | All
Preston Park | BH0 | Brighton_and_Hove | 13 |  | N |  | Y | Y
| MS1 | Mid_Sussex | 11
North Street | BH10 | Brighton_and_Hove | 13 |  | Y |  | Y
| BH11 | Brighton_and_Hove
AD1 | Adur DC - Shoreham-by-sea (Shoreham) | Adur DC - Shoreham-by-sea
EB3 | AURN - Holly Place (Eastbourne) | AURN - Holly Place
LL1 | AURN - Lullington Heath (South Downs) | AURN - Lullington Heath
BH0 | AURN - Preston Park (Brighton) | AURN - Preston Park
HO4 | AURN - Storrington (Storrington) | AURN - Storrington
CI1 | Chichester DC -A27 Chichester Bypass (Chichester) | Chichester DC -A27 Chichester Bypass
CI5 | Chichester DC -Westhampnett Road (Chichester) | Chichester DC -Westhampnett Road
CA2 | Crawley BC - Gatwick Airport (Gatwick) | Crawley BC - Gatwick Airport
EB1 | Eastbourne BC - Devonshire Park (Eastbourne) | Eastbourne BC - Devonshire Park
HT1 | Hastings BC - Bexhill Rd, Bulverhythe (Hastings) | Hastings BC - Bexhill Rd, Bulverhythe
HO5 | Horsham DC - Cowfold (Cowfold) | Horsham DC - Cowfold
HO2 | Horsham DC - Park Way (Horsham) | Horsham DC - Park Way
LS7 | Lewes DC - Newhaven | Lewes DC - Newhaven
RY2 | Rother DC - De La Warr Road (Bexhill) | Rother DC - De La Warr Road
WT2 | Worthing BC - A27 Grove Lodge (Worthing) | Worthing BC - A27 Grove Lodge
LS8 | Lewes DC – Little East Street (Lewes) | Lewes DC – Little East Street
MS1 | Mid_Sussex | Mid Sussex DC - London Road (East Grinstead)
BH10 | BHCC - North Street (Brighton) | BHCC - North Street
BH11 | Brighton - Lewes Road, A270 | Brighton - Lewes Road, A270